Steel frame Conservation Plateau Rooflight units ____ degree pitched roofs

- Manufacturer: The Rooflight Co.

  - Contact Details

    - Address: Unit T1 Bourton Industrial Park

Bourton-on-the-Water

Cheltenham

GL54 2HQ

    - Telephone: +44 (0) 1993 833155

    - Web: www.therooflightco.com

    - Email: hello@therooflightco.com

  - Product Reference: Conservation Plateau Rooflight (PL___)

- Product Performance

  - Whole Window U-Value: 1.8W/m2K

- Frame

  - Material: Steel Frame

  - Finish

    - Corrosion Protection: EN ISO 12944 to classification C5-M Long.

    - Coating: Polyester Powder Coating

    - Colour: RAL 9005 Semi Textured Black

- Kerb Installation: As per manufacturer’s recommendations

- Glazing or Infill

  - Standards/Type: BSI Kitemarked (KM93754) Insulated glazing units to EN1279-3

  - Construction: 4HT (16 Argon 90) 33.1

  - Colour: Clear

  - Acoustic Performance of Glazing: 34 (-1; -5) dB to EN12758

- Operation

- Operation Type: Brass Winder/Chrome Winder/ Brass Winder and wheel/ Chrome winder and wheel/Brass Winder with out of reach handle / Chrome Winder with out of reach handle/Motorised opening to stroke length mm [Delete as Appropriate]

- Accessories: Extension pole and winding crank/ N/A [only applicable for manual out of reach opening option. Delete as appropriate]

- Glazing Bars: To manufacturer’s specification.

- Third Party Certification: BSI Kitemark on glazing KM93754.